## Slide 1: Grey Box associated State Space

## Slide 2: Original EMT model

## Slide 3: Composition

## Slide 4: Validation Process
Select reference signals (e.g. Pref = 0.5 pu)
1
Run EMT and reach steady state condition
2
Extract: states and designated variables at steady state
3
Substitute initial condition in the Symbolic Linearized State Space Elements
4
Connect the state space elements
5
Compare the EMT small signal response with the State-Space one
6

## Slide 5: Transient description (for next slides)
Transient where the EMT model (dashed line) must reach the state-space’s (continuous line) initial condition
Steady state area where it is measured the absolute error between the EMT and SS
Application at t=10s of the same reference step on the EMT and SS. This is the principal transient area

## Slide 6: Results Active Power

## Slide 7: Results RMS Voltage Poc

## Slide 8: Results Voltages Poc

## Slide 9: Results Voltages VSC

## Slide 10: Results Currents VSC

## Slide 11: Results Currents Grid

## Slide 12: Results Active Power

## Slide 13: Results RMS Voltage Poc

## Slide 14: Results Voltages Poc

## Slide 15: Results Voltages VSC

## Slide 16: Results Currents VSC

## Slide 17: Results Currents Grid

## Slide 18: Results DC Voltage

## Slide 19: Stability Study